LGW-SH Gateway Web Configuration Guide

AdoModel Tech Inc.

Contents

1 Overview	1

1.1 Requirements and Purpose	1

1.2 Terms and Abbreviations	1

1.3 References	1

2 Mini Indoor Gateway Introduction	1

2.1 Appearance	1

2.2 Interface Description	2

2.3 Status Indicator	3

3 Hardware Installation and Wiring	4

3.1 Power Supply Options	4

3.2 Wired Network Connection	4

4 Basic Device Network Configuration	5

4.1 Logging In to the Web Management Interface	5

5 Home Page: Viewing the Gateway Operation Overview	5

6 Overview: Viewing Device Information	6

7 Basic Information and Device Management	7

7.1 Viewing Basic Information	7

7.2 Log Settings	7

7.3 Device Management	7

8 Gateway Configuration	8

8.1 NS Network Server Settings	8

8.2 RF Settings	9

9 Network Settings	10

9.1 Ethernet Settings	10

9.2 WiFi Settings	11

10 Terminal Management	13

10.1 Adding Terminal Devices	13

10.2 Downlink Data	15

10.3 Viewing Terminal Messages	16

10.4 Blacklist/Whitelist	17

11 Modbus Configuration	18

11.1 RS485-to-Ethernet Using USR-DR134	18

11.2 Direct Ethernet Connection	21

12 MQTT Configuration	23

12.1 Server Information	23

12.2 Account Authentication (if required by the server)	23

12.3 Publish Topic	24

12.4 Subscribe Topic	24

13 Firmware Upgrade	24

13.1 Firmware Upgrade	24

13.2 File System Upgrade	24

13.3 Upgrade Notes	25

14 Remote Management	25

1 Overview

1.1 Requirements and Purpose

This document is the web configuration guide for the LGW915SH mini indoor gateway.

1.2 Terms and Abbreviations

Table of Terms

| Term | Definition |
| --- | --- |

Table of Abbreviations

| Term | Definition |
| --- | --- |

1.3 References

<Omitted>

2 Mini Indoor Gateway Introduction

2.1 Appearance

The gateway features a streamlined pebble-and-water-drop design with a glossy pure-white shell. Its rounded, smooth curves have no sharp edges, and the device is slim, light, and compact. The front of the device is an integrated smooth shell with a small status indicator opening at the top-left corner and no extra buttons, giving it a minimalist look that suits a wide range of small industrial and office environments. The rear of the device features an integrated recessed interface slot that neatly houses the power jack, network port, and buttons, so cables do not protrude after being plugged in, preserving the device’s sleek profile.

The device supports two installation methods — flat placement on a desktop and wall mounting — making it suitable for weak-current boxes, walls, desktops, and other locations.

Figure 1 Gateway Appearance

2.2 Interface Description

The interfaces on the rear of the device are arranged from left to right. The functions of each interface and button are described below:

(1) DC Power Jack

The main power input of the device, matching the DC power adapter included in the package. Input specification: 12 V/2 A. It provides the primary power for stable device operation.

(2) RJ45 Ethernet Port

A standard wired network interface that connects to a router or a switch via an Ethernet cable for LAN and cloud data transmission. The port has a built-in dual-color status LED: a solid green light indicates a normal physical cable connection, and a flashing yellow light indicates that the device is sending and receiving network data.

(3) Reset Pinhole

The system reset button of the device. Press and hold it with a slender object such as a toothpick or a pin, and release after 5 seconds. The device will be restored tofactory settings, and all network and device configurations will be cleared.

(4) Type-C Port

It has dual functions: auxiliary power supply — a phone Type-C charging cable can be used to temporarily power the gateway; and a debug serial port — when connected to a computer, it allows reading device operation logs and debugging local device parameters.

Figure 2 Gateway Interface Overview

2.3 Status Indicator

The front of the device has a three-color status indicator (red / green / blue). Each color reports one aspect of the gateway's operation:

(1) Red — System Power and Basic Operation

| State | Meaning |
| --- | --- |
| Solid | The device is powered on and running normally. |
| Off | The device is not powered, or a power fault has occurred. |
| Blinking slowly | The system is booting up or a factory reset is in progress. |
| Blinking fast | The system has encountered a fault or critical error. |

(2) Green — IP Network Connection

| State | Meaning |
| --- | --- |
| Solid | An IP address has been obtained and the network connection is up. |
| Off | The network is not connected or not enabled. |
| Blinking | The gateway is trying to connect to the network (Wi-Fi / Ethernet searching or dialing). |

(3) Blue — LoRaWAN Service

| State | Meaning |
| --- | --- |
| Solid | The LoRaWAN Packet Forwarder is running normally and connected to the LoRaWAN network server. |
| Off | The LoRaWAN module is not started, or no network server is configured. |
| Blinking | LoRa packets are being received or sent (RF activity). |

Note: After power-on, a solid red indicator with the green indicator off or blinking means the gateway is ready for first-time configuration through the gateway hotspot (see Section 4.1). The green indicator turns solid once the network connection is established.

3 Hardware Installation and Wiring

3.1 Power Supply Options

The device supports two power supply methods. The DC power adapter is the preferred method; Type-C is only for temporary backup power.

Primary power: Plug the included power adapter into the DC jack on the rear of the device, and plug the adapter into a wall outlet.

Backup power: Use a Type-C data cable, plug one end into the gateway’s Type-C port and the other end into a charging adapter for temporary power.

3.2 Wired Network Connection

Prepare a standard Cat5e/Cat6 Ethernet cable. Plug one end into the RJ45 port on the rear of the gateway and the other end into a router LAN port or a switch port. A solid green light on the port indicates a successful cable connection.

Figure 3 Gateway Wiring Diagram

4 Basic Device Network Configuration

4.1 Logging In to the Web Management Interface

1. On your computer, find the Wi-Fi hotspot and connect to the Wi-Fi network LGW_XXXX..., then enter the hotspot password: lgwwifipsw

2. Open a browser and visit http://192.168.4.1, enter the username root and the password admin, and log in to the management interface.

Figure 4 Web Management Interface Login Page

5 Home Page: Viewing the Gateway Operation Overview

After logging in, you can view the gateway operation overview on the Home page, mainly including:

Number of uplink messages: the number of uplink messages received by the gateway from terminals.

Number of downlink messages: the number of downlink messages sent by the gateway to terminals.

LoRa channel usage: displays the usage of each channel in chart form.

RSSI and SNR information: used to understand the wireless communication quality.

The Home page data is used for operation monitoring and preliminary fault diagnosis. If there are no uplink messages for a long time, check in sequence whether the terminal is working properly, whether the gateway RF configuration is correct, and whether the network connection is normal.

Figure 5 Gateway Operation Status

6 Overview: Viewing Device Information

On the Overview page, you can view the current operating status of the device, including:

Device serial number;

Firmware version;

Hardware version;

Device local time;

Device uptime.

Click Refresh to re-read the device status. If the device time, uptime, or version information is abnormal, refresh the page to confirm first. If the issue persists, contact device maintenance personnel.

Figure 6 Viewing Device Information

7 Basic Information and Device Management

On the Basic Information page, you can view device information, configure logs, and perform device management operations.

7.1 Viewing Basic Information

The page displays the device ID, software version, hardware version, local time, and uptime. Click the Refresh button to obtain the latest information.

7.2 Log Settings

Log settings are used to adjust the logging level of device operation logs and remote log parameters.

Module: select the function module to be configured.

Level (log level): select ERROR, WARN, INFO, DEBUG, or Verbose.

ERROR: records error information only.

WARN: records warning and error information.

INFO: records general operation information, warnings, and errors.

DEBUG: records detailed debugging information.

Verbose: records the most detailed information.

Remote log server: enter the address of the server that receives the logs.

Remote log port: enter the port number used by the remote log server.

For general operating environments, INFO is recommended. When troubleshooting is needed, you may temporarily raise the log level under the guidance of maintenance personnel. A log level that is too high may increase the log volume.

After modification, click Save to apply the settings.

7.3 Device Management

7.3.1 Restarting the Device

Click Restart and confirm; the device will restart. During the restart, the Web page may be temporarily inaccessible. Please wait for the device to start up completely, then log in again.

7.3.2 Restoring Factory Settings

Click Restore Factory Settings and confirm; the device will be restored to its default configuration. This operation may clear network, gateway, terminal, and other service configurations. Before performing this operation, make sure the configuration has been backed up.

7.3.3 Exporting Configuration

Click Export Configuration to save the current device configuration to your computer. It is recommended to save a configuration file after the initial configuration, before major changes, and before upgrades.

7.3.4 Importing Configuration

Click Import Configuration, select the previously exported JSON configuration file, and upload it. Before importing, make sure the configuration file comes from a device of the same or a compatible model. After the import, some configurations may require a device restart to take full effect.

Figure 7 Basic Information and Device Management

8 Gateway Configuration

8.1 NS Network Server Settings

On the network server configuration page, fill in:

Gateway ID: the unique identifier of the gateway on the network server.

Server address: the IP address or domain name of the network server. For the built-in NS, enter 127.0.0.1 or localhost; for an external NS, enter the actual address, e.g., adomodelcloud.com.

Uplink port: the port used by the gateway to send uplink data to the network server. For the built-in NS, enter 1780; for an external NS, enter the actual port, e.g., 915.

Downlink port: the port used by the gateway to receive downlink data from the network server. For the built-in NS, enter 1782; for an external NS, enter the actual port, e.g., 915.

After confirming that the server address and ports are correct, click Save. If the gateway cannot connect to the network server, check the server address, ports, firewall, and the gateway’s network connection.

Figure 8 NS Network Server Configuration

8.2 RF Settings

RF settings determine the frequency and channels used by the gateway when receiving signals from LoRa terminals.

Band: displays the frequency band supported by the device; it is usually not directly modifiable.

RF channel: displays the RF channels and their center frequencies.

LoRa channel: view or set the enable status, frequency, bandwidth, and data rate.

FSK channel: view or set the enable status and frequency parameters of the FSK channels.

RF parameters must be consistent with the regional frequency band used by the terminal devices and the network server. Incorrect frequency configuration may prevent terminals from joining the network or communicating normally.

After modification, click Save. If you are unsure about the parameter values, use the device default configuration or contact technical support.

Figure 9 RF Settings

9 Network Settings

9.1 Ethernet Settings

Go to Network > Ethernet to configure the port parameters.

9.1.1 DHCP (Automatic IP Acquisition)

When DHCP is enabled, the gateway automatically obtains the IP address, subnet mask, gateway, and DNS from the DHCP server on the network. This applies to scenarios where DHCP service is already deployed on the network.

9.1.2 Manual Network Parameter Settings

When DHCP is disabled, you need to fill in the following manually:

IP address: the fixed address of the gateway on the LAN.

Subnet mask: the subnet mask of the current network.

Gateway: the address of the network egress device.

DNS: the domain name resolution server address.

After filling in, click Save. After saving, the gateway’s network may be temporarily interrupted. If the IP address is modified, use the new address to access the management page again.

Figure 10 Ethernet Settings

9.2 WiFi Settings

Go to Network > WiFi to configure the WiFi working mode and AP/STA network parameters.

9.2.1 WiFi Basic Settings

SSID: the name of the wireless network to connect to.

Password: the password of the wireless network.

Working mode:

Soft AP: the gateway acts as a wireless hotspot for other devices to connect to.

Station: the gateway connects to an existing wireless network.

Soft AP + Station: provides a hotspot and connects to an existing wireless network at the same time.

NTP server: the address of the time server used to calibrate the device time.

After filling in or modifying, click Save.

Figure 11 WiFi Basic Settings

9.2.2 AP Settings

AP settings are used to configure the network parameters used when the gateway acts as a wireless hotspot:

AP gateway: the gateway address of the hotspot network.

AP subnet mask: the subnet mask of the hotspot network.

Figure 12 AP Settings

9.2.3 STA Settings

STA settings are used to configure the network parameters used when the gateway connects to an external wireless network:

STA gateway: the gateway address of the external wireless network.

STA subnet mask: the subnet mask of the external wireless network.

STA IP: the IP address of the gateway on the external wireless network.

The page displays the current WiFi connection status, including Connecting, Connected, or Disconnected. After saving the WiFi configuration, wait for the status to be re-established. If the status remains disconnected, check the SSID, password, signal strength, and network address settings.

Figure 13 STA Settings

10 Terminal Management

10.1 Adding Terminal Devices

Go to Terminal Management > Add Terminal to add, view, and delete LoRa terminal devices.

10.1.1 Network Join Methods

LoRa terminals support two network join methods. Switch to the method actually used on the page:

OTAA: the terminal requests to join the network through its DevEUI and AppKey. This method is more secure and is recommended.

ABP: the terminal joins the network directly with a fixed network address and session keys, without a join procedure.

10.1.2 OTAA Join Parameters

DevEUI: the unique identifier of the terminal device (64-bit hexadecimal).

AppKey: the application key, provided by the network server.

Class: the working mode of the terminal; select Class A or Class C.

Figure 14 OTAA Join Settings

10.1.3 ABP Join Parameters

For ABP, in addition to DevEUI and Class, you also need to fill in:

DevAddr: the short address of the terminal in the system.

AppSKey: the application session key.

NwkSKey: the network session key.

Figure 15 ABP Join Settings

10.1.4 Procedure

1. Select the join method (OTAA or ABP).

2. Click Add, and fill in the above parameters in the pop-up window.

3. Click OK to save the device.

4. The device list displays the DevEUI, keys, last message time, and last message type of each terminal.

To modify a device, click Edit in the list; to remove a device no longer in use, click Delete to remove it from the gateway.

Note: DevEUI, AppKey, DevAddr, AppSKey, and NwkSKey must be consistent with the configurations on the network server and the terminal side; otherwise, the terminal will not be able to join the network or send/receive data normally.

10.2 Downlink Data

Go to the Downlink Data page (usually entered via the Send Data operation on the Add Terminal page) to send downlink commands to a specified terminal.

Figure 16 Downlink Data Function Entry

10.2.1 Parameter Description

deveui: the target terminal, automatically carried over from the previous page.

Hex mode: when enabled, the data is parsed in hexadecimal.

fPort: the LoRa port number, ranging from 1 to 255; it must be consistent with the agreement on the terminal side.

Data: the message content to be sent to the terminal.

Cyclic sending: when enabled, sends repeatedly every 1 second.

Send count: counts the number of messages sent.

After entering the data, press Enter or click the Send button to send it. When cyclic sending is enabled, the page keeps sending and updating the count, and stops automatically when you leave the page.

Make sure the target terminal is online and in a receivable state (e.g., a Class C terminal, or a Class A terminal in its receive window); otherwise, the downlink message may not be delivered.

Figure 17 Downlink Data Function Interface

10.3 Viewing Terminal Messages

Go to Terminal Management > Terminal Messages to view the uplink/downlink message records of terminals, including:

Timestamp;

Message type;

Message status;

Frequency point;

Data length;

Data content (when the data is long, hover the mouse over the data column to view the full content).

The page supports refreshing to obtain the latest messages. You can also click Export to save the message records locally for analysis or archiving.

Figure 18 Viewing Terminal Messages

10.4 Blacklist/Whitelist

Go to Terminal Management > Blacklist/Whitelist to control which terminals can communicate with the gateway. The blacklist/whitelist is disabled by default.

10.4.1 Blacklist

After the blacklist is enabled, terminals on the blacklist are filtered out, while other terminals communicate normally.

Enter the devEUI of the terminal to be filtered and click Add to add it to the blacklist. To lift the filtering, delete the corresponding entry from the list.

10.4.2 Whitelist

After the whitelist is enabled, only terminals on the whitelist can communicate with the gateway; all other terminals are not forwarded.

Enter the devEUI of the terminal allowed to communicate and click Add to add it to the whitelist. To restore communication, delete the corresponding entry from the list.

Note: In whitelist mode, terminals not on the list cannot communicate. Before enabling it, make sure all terminals that need to communicate have been added to the whitelist.

Figure 19 Blacklist/Whitelist Management

11 Modbus Configuration

Go to the Modbus page to configure the cached data rules between the gateway and Modbus slave devices. The list displays the device ID, slave address, function code, register address, register count, data, and other information.

11.1 RS485-to-Ethernet Using USR-DR134

11.1.1 Viewing the Gateway Configuration

Use the built-in NS with address 127.0.0.1 or localhost, uplink port 1780, and downlink port 1782, then click Save.

Figure 20 Modbus NS Network Server Configuration

11.1.2 Network Ethernet Configuration

Gateway address: 192.168.0.1

Device address: 192.168.0.201

Mask: 255.255.255.0

Disable DHCP

Save

Figure 21 Modbus Ethernet Configuration

11.1.3 Configuring Modbus

Fill in according to the actual register addresses.

Figure 22 Modbus Parameter Configuration

11.1.4 OTAA Device Join Configuration

Enter the ID and key of the DTU device to be joined, then submit.

Figure 23 Modbus OTAA Device Join Configuration

<The gateway must be restarted after all the above configurations are completed!>

11.1.5 Hardware Connection

The hardware wiring is as follows:

11.1.6 Using open modscan

Open open modscan, select the serial port, connect, configure the Modbus register addresses, and start polling and collecting data.

Figure 24 open modscan Serial Port Parameter Configuration

Figure 25 open modscan Data Collection

Figure 26 open modscan Collected Data Details

11.2 Direct Ethernet Connection

11.2.1 Querying the Gateway IP

The supplied LoraGW_IPScan tool can be used to detect the IP address of the gateway device, monitor its online/offline status, and check the gateway by plugging and unplugging the network cable. LoraGW_IPScan can be downloaded from www.adomodeltech.com or obtained from your account manager.

Figure 27 Querying the Gateway IP

11.2.2 Ethernet Network Configuration

For a direct Ethernet connection, DHCP can be enabled. The remaining configuration operations are shown in the figure below.

Figure 28 Ethernet Network Configuration

The connection is as follows:

Use open modscan; when starting polling in open modscan, select IP to connect.

Figure 29 open modscan IP Connection

Note: The slave address, function code, and register address must be consistent with the actual parameters of the on-site Modbus slave device; otherwise, data cannot be read correctly.

12 MQTT Configuration

Go to the MQTT page to report gateway data to an MQTT server.

12.1 Server Information

Server address: the host address of the MQTT server. The page automatically adds the mqtt protocol prefix.

Port: the port of the MQTT server.

Keepalive: the connection keepalive time (in seconds), used to maintain a long connection with the server.

12.2 Account Authentication (if required by the server)

Client ID: the client identifier; it should remain unique on the same server.

Username: the username used to connect to the server.

Password: the password used to connect to the server.

12.3 Publish Topic

Publish topic: the topic used by the gateway to report data to the server.

QoS: message quality of service; options are 0, 1, and 2 (higher values mean higher reliability but more overhead).

retain: whether to retain messages; 0 means not retained, 1 means retained.

12.4 Subscribe Topic

Subscribe topic: the topic the gateway listens to when receiving data from the server.

QoS: subscription quality of service; options are 0, 1, and 2.

After filling in, click Save. If the gateway cannot connect to the MQTT server, check the server address, port, account/password, topic names, and network connectivity.

Figure 30 MQTT Configuration

13 Firmware Upgrade

Go to the Firmware Upgrade page to upgrade the gateway firmware or file system.

13.1 Firmware Upgrade

1. On the Firmware tab, select or drag in the firmware file (.bin).

2. Click Upload, confirm, and the upgrade starts.

3. Wait for the upgrade to complete. Do not power off or close the page during the process.

13.2 File System Upgrade

1. Switch to the File System tab.

2. Select or drag in the file system upgrade file (.bin).

3. Click Upload, confirm, and the upgrade starts.

13.3 Upgrade Notes

Before upgrading, export and save the current configuration first.

It is recommended to upgrade over an Ethernet connection to avoid upgrade failure caused by an unstable wireless link.

During the upgrade, do not power off, restart the device, or close the browser.

After the upgrade, the device may restart automatically; wait for the device to come back online.

Figure 31 OTA Upgrade

14 Remote Management

1. Log in to the management platform at http://adomodelcloud.com/

2. In the Group menu, enter the first 15 digits of the gateway’s IMEI in the IMEI field to find your gateway device.

Figure 32 Entering the IMEI and Querying the Device

Figure 33 Device Found

3. Open Remote Connection Configuration and click Enable Remote Connection.

Figure 34 Enable Remote Connection

4. Click Open Configuration Page to jump to the smart gateway login page. After logging in, you can configure the device.

Figure 35 Jump Entry

Figure 36 Smart Gateway Login Page